## Master_Edge_Test_Sheet
LinkID | LinkType | Node1 | Node2 | Length_ft | Diameter_in | Roughness | Coefficient | Status | MinorLoss_K | Jower_HJ | Setting | CurveID | Valve Type | Tag
J_RES1_T1 | Pipie | RES1 | T1 | 10 | 2.469 | 0.000167 | 0 | Open | 0 | 1 |  | Curve_Franklin35GJM_1HJ |  | Well ? T1
J_T1_M1 | Pipe | T1 | M1 | 20 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | T1 ? M1
J_T1_SUC | Pipe | J_T1_SUC | J_BP1_SUC | 20 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Pipie suction header"
J_BP1 | Pipie | J_BP1_SUC | J_BP1_DIS | 10 | 2.469 | 0.000167 | 0 | Open | 0 | 5 |  | Curve_Franklin_5FJDB1_2_6J625in |  | "Booster Pipie"
J_DIS_M1 | Pipe | J_BJ1_DIS | M1 | 20 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Pipie discharge header"
J_SNT1_60_100 | Pipe | J_SNT1_60 | J_SNT1_160 | 100 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | "SNT1 60?100 ft (to Valve V1)"
J_SNT1_V1_IN_160 | Pipe | J_SNT1_160 | J_V1_IN_160 | 1 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Stub into V1 (no added length)
V1 | Valve | J_V1_IN_160 | J_V1_OUT_160 | 1 | 2.469 | 0.000167 | 0 | Open | 0 |  | 20 |  | FCV | "FCV set to 20 gJm"
J_SNT1_V1_OUT_160_360 | Pipe | J_V1_OUT_160 | J_SNT1_V2_IN_360 | 200 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | "SNT1 160?200 ft"
J_SNT1_V2_IN_360 | Pipe | J_SNT1_360 | J_V2_IN_360 | 1 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Stub into V1 (no added length)
V2 | Valve | J_V2_IN_360 | J_V2_OUT_360 | 1 | 2.469 | 0.000167 | 0 | Open | 0 |  | 20 |  | FCV | "FCV set to 20 gJm"
J_SNT1_V2_OUT_360_445 | Pipe | J_V2_OUT_360 | J_TEE_IN_SNT1_445 | 85 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 360?85 ft (from Valve V2)
J_TEE_IN_SNT1_445 | Pipe | J_TEE_IN_SNT1_445 | J_TEE_OUT_CNT1_Stub_445 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT1_Stub | Pipe | J_TEE_IN_SNT1_445 | J_CNT1_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_CNT1_445 | Pipe | J_TEE_OUT_445 | J_CNT1_445 | 15 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "15 ft Lateral @ ? CNT1"
J_TEE_OUT_SNT1_445_525 | Pipe | J_TEE_OUT_445 | J_TEE_IN_SNT1_525 | 80 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Run Out? SNT1 445?55 ft
J_TEE_IN_SNT1_525 | Pipe | J_TEE_IN_SNT1_525 | J_TEE_OUT_CNT2_Stub_525 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT2_Stub | Pipe | J_TEE_IN_SNT1_525 | J_TEE_OUT_CNT2_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_525_CNT2 | Pipe | J_TEE_OUT_525 | J_CNT2 | 40 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @40 ft ? CNT2"
J_TEE_OUT_SNT1_525_580 | Pipe | J_TEE_OUT_525 | J_TEE_IN_SNT1_580 | 55 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 525?55 ft
J_TEE_IN_SNT1_580 | Pipe | J_TEE_IN_SNT1_580 | J_TEE_OUT_CNT3_Stub_580 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT3_Stub | Pipe | J_TEE_IN_SNT1_580 | J_TEE_OUT_CNT3_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_CNT3_580 | Pipe | J_TEE_OUT_580 | J_CNT3 | 40 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | Lateral @40 ft ? CNT3"
J_TEE_OUT_SNT1_580_635 | Pipe | J_TEE_OUT_580 | J_TEE_IN_SNT1_635 | 55 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 580?55 ft
J_TEE_IN_SNT1_635 | Pipe | J_TEE_IN_SNT1_635 | J_TEE_OUT_CNT4_Stub_635 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT4_Stub | Pipe | J_TEE_IN_SNT1_635 | J_TEE_OUT_CNT4_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_635_CNT4 | Pipe | J_TEE_OUT_635 | J_CNT4 | 40 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @40 ft ? CNT1"
J_TEE_OUT_SNT1_635_655 | Pipe | J_TEE_OUT_635 | J_SNT1_BEND_IN_680 | 45 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 635?45 ft
J_SNT1_BEND_IN_680 | Pipe | J_SNT1_680 | J_SNT1_BEND_IN | 1 | 2.469 | 0.000167 | 0 | Open | [5 empty] | "Seg: SNT1 ? 90° bend"
J_SNT1_655_BEND_IN_BEND_OUT | Pipe | J_SNT1_BEND_IN | J_SNT1_BEND_OUT | 1 | 2.469 | 0.000167 | 0 | Open | [5 empty] | "Seg: SNT1 ? 90° bend"
J_SNT1_BEND_OUT_680_700 | Pipe | J_SNT1_BEND_OUT | J_TEE_IN_SNT1_700 | 20 | 2.469 | 0.000167 | 0 | Open | [5 empty] | "Seg: SNT1 ? 90° bend"
J_TEE_IN_SNT1_700 | Pipe | J_TEE_IN_SNT1_700 | J_TEE_OUT_CNT5_Stub_700 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT5_Stub | Pipe | J_TEE_IN_SNT1_700 | J_CNT5_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_700_CNT5 | Pipe | J_TEE_OUT_700 | J_CNT5 | 15 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @15 ft ? CNT1"
J_TEE_OUT_SNT1_700_740 | Pipe | J_TEE_OUT_SNT1_700 | J_TEE_IN_SNT1_740 | 40 | 2.469 | 0.000167 | 0 | Open | [5 empty] | SNT1 700?40 ft
J_TEE_IN_SNT1_740 | Pipe | J_TEE_IN_SNT1_740 | J_TEE_OUT_CNT6_Stub_700 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT6_Stub | Pipe | J_TEE_IN_SNT1_740 | J_TEE_OUT_CNT6_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_740_CNT6 | Pipe | J_TEE_OUT_740 | J_CNT6 | 105 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @105 ft ? CNT1"
J_TEE_OUT_SNT1_740_795 | Pipe | J_TEE_OUT_740 | J_TEE_IN_SNT1_795 | 55 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 740 to 55 ft
J_TEE_IN_SNT1_795 | Pipe | J_TEE_IN_SNT1_795 | J_TEE_OUT_CNT7_Stub_795 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT7_Stub | Pipe | J_TEE_IN_SNT1_795 | J_TEE_OUT_CNT7_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_795_CNT7 | Pipe | J_TEE_OUT_795 | J_CNT7 | 205 | 1.029 | 0.000167 | 0 | Open | [5 empty] | "Lateral @205 ft ? CNT7"
J_TEE_OUT_SNT1_795_875 | Pipe | J_TEE_OUT_795 | J_SNT1_V3_IN_875 | 80 | 2.469 | 0.000167 | 0 | Open | [5 empty] | SNT1 795?80 ft
J_SNT1_V3_IN_875 | Pipe | J_SNT1_875 | J_V3_IN_875 | 1 | 2.469 | 0.000167 | 0 | Open | [5 empty] | Stub into V3 (no added length)
V3 | Valve | J_V3_IN_875 | J_V3_OUT_875 | 1 | 2.469 | 0.000167 | 0 | Open |  | 20 |  |  | FCV | "FCV set to 20 gpm"
J_SNT1_V3_OUT_875_920 | Pipe | J_SNT1_V3_OUT_875 | J_TEE_IN_SNT1_920 | 45 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 875?45 ft
J_TEE_IN_SNT1_920 | Pipe | J_TEE_IN_920 | J_TEE_OUT_CNT8_Stub_920 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT8_Stub | Pipe | J_TEE_IN_920 | J_TEE_OUT_CNT8_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_920_CNT8 | Pipe | J_TEE_OUT_920 | J_CNT8 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT8"
J_TEE_OUT_SNT1_920_1000 | Pipe | J_TEE_OUT_920 | J_TEE_IN_SNT1_1000 | 80 | 2.469 | 0.000167 | 0 | Open | [5 empty] | SNT1 920?80 ft
J_TEE_IN_SNT1_1000 | Pipe | J_TEE_IN_1000 | J_TEE_OUT_CNT9_Stub_1000 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT9_Stub | Pipe | J_TEE_IN_1000 | J_TEE_OUT_CNT9_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1000_CNT9 | Pipe | J_TEE_OUT_1000 | J_CNT9 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT9"
J_TEE_OUT_SNT1_1000_1056 | Pipe | J_TEE_OUT_SNT1_1000 | J_TEE_IN_SNT1_1056 | 56 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1000?56 ft
J_TEE_IN_SNT1_1056 | Pipe | J_TEE_IN_SNT1_1056 | J_TEE_OUT_CNT10_Stub_1056 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT10_Stub | Pipe | J_TEE_IN_1056 | J_TEE_OUT_CNT10_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1056_CNT10 | Pipe | J_TEE_OUT_CNT10_Stub | J_CNT10 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT10"
J_TEE_OUT_SNT1_1056_1076 | Pipe | J_TEE_OUT_1056 | J_TEE_IN_SNT1_1076 | 20 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1056?20 ft
J_TEE_IN_SNT1_1076 | Pipe | J_TEE_IN_1076 | J_TEE_OUT_CNT11_Stub_1076 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT11_Stub | Pipe | J_TEE_IN_1076 | J_CNT11_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1076_CNT11 | Pipe | J_TEE_OUT_CNT11_Stub | J_CNT11 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT11"
J_TEE_OUT_SNT1_1076_1132 | Pipe | J_TEE_OUT_1076 | J_TEE_IN_SNT1_1132 | 56 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT11076?56 ft
J_TEE_IN_SNT1_1132 | Pipe | J_TEE_IN_SNT1_1132 | J_TEE_OUT_CNT12_Stub_1132 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT12_Stub | Pipe | J_TEE_IN_1132 | J_TEE_OUT_CNT12_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1132_CNT12 | Pipe | J_TEE_OUT_1132 | J_CNT12 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT12"
J_TEE_OUT_SNT1_1132_1152 | Pipe | J_TEE_OUT_SNT1_1132 | J_TEE_IN_SNT1_1152 | 20 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1132?20 ft
J_TEE_IN_SNT1_1152 | Pipe | J_TEE_IN_SNT1_1152 | J_TEE_OUT_CNT13_Stub_1152 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT13_Stub | Pipe | J_TEE_IN_1152 | J_TEE_OUT_CNT13_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1152_CNT13 | Pipe | J_TEE_OUT_1152 | J_CNT13 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT13"
J_TEE_OUT_SNT1_1152_1208 | Pipe | J_TEE_OUT_1152 | J_TEE_IN_SNT1_1208 | 56 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1152?56 ft
J_TEE_IN_SNT1_1208 | Pipe | J_TEE_IN_SNT1_1208 | J_TEE_OUT_CNT14_Stub_1208 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT14_Stub | Pipe | J_TEE_IN_1208 | J_TEE_OUT_CNT14_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1208_CNT14 | Pipe | J_TEE_OUT_1208 | J_CNT14 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT14"
J_TEE_OUT_SNT1_1208_1264 | Pipe | J_TEE_OUT_SNT1_1208 | J_TEE_IN_SNT1_1264 | 56 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1208 ?56 ft
J_SNT1_TEE_IN_1264 | Pipe | J_TEE_IN_SNT1_1264 | J_TEE_OUT_CNT15_Stub_1264 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT15_Stub | Pipe | J_TEE_IN_1264 | J_TEE_OUT_CNT15_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1264_CNT15 | Pipe | J_TEE_OUT_1264 | J_CNT15 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT15"
J_TEE_OUT_SNT1_1264_1284 | Pipe | J_TEE_OUT_1264 | J_TEE_IN_SNT1_1284 | 20 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1264 ?20 ft
J_TEE_OUT_1284 | Pipe | J_TEE_IN_SNT1_1284 | J_TEE_OUT_CNT16_Stub_1284 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT16_Stub_1284 | Pipe | J_TEE_OUT_CNT16_Stub | J_TEE_OUT_CNT16_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1284_CNT16 | Pipe | J_TEE_OUT_1284 | J_CNT16 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT16"
J_TEE_OUT_SNT1_1284_1340 | Pipe | J_TEE_OUT_1284 | J_TEE_IN_SNT1_1340 | 56 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1194?56 ft
J_TEE_IN_SNT1_1340 | Pipe | J_TEE_IN_1340 | J_TEE_OUT_CNT17_Stub_1340 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT17_Stub | Pipe | J_TEE_IN_SNT1_1340 | J_TEE_OUT_CNT17_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1340_CNT17 | Pipe | J_TEE_OUT_1340 | J_CNT17 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT17"
J_TEE_OUT_SNT1_1340_1355 | Pipe | J_TEE_OUT_SNT1_1340 | J_TEE_IN_SNT1_1355 | 15 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1340 ? 15 ft
J_TEE_IN_SNT1_1355 | Pipe | J_TEE_IN_1355 | J_TEE_OUT_CNT18_Stub_1355 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT18_Stub | Pipe | J_TEE_IN_1355 | J_TEE_OUT_CNT18_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1355_CNT18 | Pipe | J_TEE_OUT_1355 | J_CNT18 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT18"
J_TEE_OUT_1355_1370 | Pipe | J_TEE_OUT_SNT1_1370 | J_TEE_IN_SNT1_1370 | 15 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1370 ? 15 ft
J_TEE_IN_SNT1_1370 | Pipe | J_TEE_IN_1370 | J_TEE_OUT_CNT19_Stub_1370 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT19_Stub | Pipe | J_TEE_IN_1370 | J_CNT19_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1370_CNT19 | Pipe | J_TEE_OUT_1370 | J_CNT19 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT19"
J_TEE_OUT_SNT1_1370_1400 | Pipe | J_TEE_OUT_SNT1_1385 | J_TEE_IN_SNT1_1400 | 30 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1385 ? 15 ft
J_TEE_IN_SNT1_1400 | Pipe | J_TEE_IN_1400 | J_TEE_OUT_CNT20_Stub_1400 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT20_Stub | Pipe | J_TEE_IN_1400 | J_TEE_OUT_CNT20_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1400_CNT20 | Pipe | J_TEE_OUT_1400 | J_CNT20 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT20"
J_TEE_OUT_SNT1_1400_1415 | Pipe | J_TEE_OUT_SNT1_1400 | J_TEE_IN_SNT1_1415 | 15 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1400 ? 15 ft
J_TEE_IN_SNT1_1415 | Pipe | J_TEE_IN_1415 | J_TEE_OUT_CNT21_Stub_1415 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT21_Stub | Pipe | J_TEE_IN_1415 | J_TEE_OUT_CNT21_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1415_CNT21 | Pipe | J_TEE_OUT_1415 | J_CNT21 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT21"
J_TEE_OUT_SNT1_1415_1430 | Pipe | J_TEE_OUT_SNT1_1415 | J_TEE_IN_SNT1_1430 | 15 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1415 ? 15 ft
J_TEE_IN_SNT1_1430 | Pipe | J_TEE_IN_1430 | J_TEE_OUT_CNT22_Stub_1430 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT22_Stub | Pipe | J_TEE_IN_1430 | J_TEE_OUT_CNT22_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1430_CNT22 | Pipe | J_TEE_OUT_1430 | J_CNT22 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT22"
J_TEE_OUT_SNT1_1430_1445 | Pipe | J_TEE_OUT_1430 | J_TEE_IN_SNT1_1445 | 15 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1430 ? 15 ft
J_TEE_IN_SNT1_1445 | Pipe | J_TEE_IN_1445 | J_TEE_OUT_CNT23_Stub_1445 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT23_Stub | Pipe | J_TEE_IN_1445 | J_TEE_OUT_CNT23_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1445_CNT23 | Pipe | J_TEE_OUT_1445 | J_CNT23 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? _CNT23"
J_TEE_OUT_SNT1_1445_1460 | Pipe | J_TEE_OUT_1445 | J_TEE_IN_SNT1_1460 | 15 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1445 ? 15 ft
J_TEE_IN_SNT1_1460 | Pipe | J_TEE_IN_1460 | J_TEE_OUT_CNT24_Stub_1460 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT24_Stub | Pipe | J_TEE_IN_1460 | J_TEE_OUT_CNT24_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1460_CNT24 | Pipe | J_TEE_OUT_1460 | J_CNT24 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? _CNT2"
J_TEE_OUT_SNT1_1460_1475 | Pipe | J_TEE_OUT_SNT1_1460 | J_TEE_IN_SNT1_1475 | 15 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1475 ? 15 ft
J_TEE_IN_SNT1_1475 | Pipe | J_TEE_IN_1475 | J_TEE_OUT_CNT25_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT25_Stub | Pipe | J_TEE_IN_1475 | J_TEE_OUT__CNT25_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1475_CNT25 | Pipe | J_TEE_OUT_1475 | J_CNT25 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? _CNT25"
J_TEE_OUT_SNT1_1475_1570 | Pipe | J_TEE_OUT_SNT1_1475 | J_TEE_IN_SNT1_1570 | 95 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1570 ? 95 ft
J_TEE_IN_SNT1_1570 | Pipe | J_TEE_IN_1570 | J_TEE_OUT_CNT26_Stub_1570 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT26_Stub | Pipe | J_TEE_IN_1570 | J_TEE_OUT__CNT26_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1570_CNT26 | Pipe | J_TEE_OUT_1570 | J_CNT26 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? _CNT26"
J_TEE_OUT_SNT1_1570_1585 | Pipe | J_TEE_OUT_SNT1_1570 | J_TEE_IN_SNT1_1585 | 15 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1585 ? 15 ft
J_TEE_IN_SNT1_1585 | Pipe | J_TEE_IN_1585 | J_TEE_OUT_CNT27_Stub-1585 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT27_Stub | Pipe | J_TEE_IN_1585 | J_TEE_OUT__CNT27_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1585_CNT27 | Pipe | J_TEE_OUT_1585 | J_CNT27 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT27"
J_TEE_OUT_SNT1_1585_1680 | Pipe | J_TEE_OUT_SNT1_1585 | J_TEE_IN_SNT1_1680 | 95 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1680 ? 95 ft
J_TEE_IN_SNT1_1680 | Pipe | J_TEE_IN_1680 | J_TEE_OUT_CNT28_Stub_1680 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT28_Stub | Pipe | J_TEE_IN_1680 | J_TEE_OUT_CNT28_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1680_CNT28 | Pipe | J_TEE_OUT_1680 | J_CNT28 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT28"
J_TEE_OUT_SNT1_1680_1695 | Pipe | J_TEE_OUT_SNT1_1680 | J_TEE_IN_SNT1_1695 | 15 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1695 ?15 ft
J_TEE_IN_SNT1_1695 | Pipe | J_TEE_IN_1695 | J_TEE_OUT_CNT29_Stub-1695 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT29_Stub | Pipe | J_TEE_IN_1695 | J_TEE_OUT_CNT29_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1695_CNT29 | Pipe | J_TEE_OUT_1695 | J_CNT29 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT29"
J_TEE_OUT_SNT1_1695_1790 | Pipe | J_TEE_OUT_SNT1_1695 | J_TEE_IN_SNT1_1790 | 95 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1760 ?15 ft
J_TEE_IN_SNT1_1790 | Pipe | J_TEE_IN_1790 | J_TEE_OUT_CNT30_Stub_1790 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT30_Stub | Pipe | J_TEE_IN_1790 | J_TEE_OUT_CNT30_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1790_CNT30 | Pipe | J_TEE_OUT_1790 | J_CNT30 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT30"
J_TEE_OUT_SNT1_1790_1805 | Pipe | J_TEE_OUT_1790 | J_TEE_IN_SNT1_1805 | 15 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1805 ? 15 ft
J_TEE_IN_SNT1_1805 | Pipe | J_TEE_IN_1805 | J_TEE_OUT_CNT31_Stub_1805 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT31_Stub | Pipe | J_TEE_IN_1805 | J_TEE_OUT_CNT31_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1805_CNT31 | Pipe | J_TEE_OUT_1805 | J_CNT31 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT31"
J_TEE_OUT_SNT1_1805_1900 | Pipe | J_TEE_OUT_1805 | J_TEE_IN_SNT1_1900 | 95 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1805 ? 95 ft
J_TEE_IN_SNT1_1900 | Pipe | J_TEE_IN_1900 | J_TEE_OUT_CNT32_Stub_1900 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT32_Stub | Pipe | J_TEE_IN_1900 | J_TEE_OUT_CNT32_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1900_CNT32 | Pipe | J_TEE_OUT_1900 | J_CNT32 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT32"
J_TEE_OUT_SNT1_1900_1915 | Pipe | J_TEE_OUT_1900 | J_TEE_IN_SNT1_1915 | 15 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1900 ? 15 ft
J_TEE_IN_SNT1_1915 | Pipe | J_TEE_IN_1915 | J_TEE_OUT_CNT33_Stub_1915 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT33_Stub | Pipe | J_TEE_IN_1915 | J_TEE_OUT_CNT33_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_1915_CNT33 | Pipe | J_TEE_OUT_1915 | J_CNT33 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT33"
J_TEE_OUT_SNT1_1915_2065 | Pipe | J_TEE_OUT_1915 | J_TEE_IN_SNT1_2065 | 150 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 1915 ? 150 ft
J_TEE_IN_SNT1_2065 | Pipe | J_TEE_IN_2065 | J_TEE_OUT_CNT34_Stub_2065 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT34_Stub | Pipe | J_TEE_IN_2065 | J_TEE_OUT_CNT34_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_2065_CNT34 | Pipe | J_TEE_OUT_2065 | J_CNT34 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT29"
J_TEE_OUT_SNT1_2065_2080 | Pipe | J_TEE_OUT_2065 | J_TEE_IN_SNT1_2080 | 15 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 2065 ? 15 ft
J_TEE_IN_SNT1_2080 | Pipe | J_TEE_IN_2080 | J_TEE_OUT_CNT35_Stub_2080 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT35_Stub | Pipe | J_TEE_IN_2080 | J_TEE_OUT_CNT35_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_2080_CNT35 | Pipe | J_TEE_OUT_2080 | J_CNT35 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT29"
J_TEE_OUT_SNT1_2080_2175 | Pipe | J_TEE_OUT_2080 | J_TEE_IN_SNT1_2175 | 95 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 2080 ? 95 ft
J_TEE_IN_SNT1_2175 | Pipe | J_TEE_IN_2175 | J_TEE_OUT_CNT36_Stub_2175 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT1
J_TEE_OUT_CNT36_Stub | Pipe | J_TEE_IN_2175 | J_TEE_OUT_CNT36_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_2175_CNT36 | Pipe | J_TEE_OUT_2175 | J_CNT36 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT29"
J_TEE_OUT_SNT1_2175_2255 | Pipe | J_TEE_OUT_SNT1_2175 | J_SNT1_V4_IN_2255_Stub | 80 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 2175 ? 80 ft
J_SNT1_V4_IN_2255_Stub | Pipe | J_SNT1_2255_Stub | J_V4_IN_2255_Stub | 1 | 2.469 | 0.000167 | 0 | Closed | 0 |  |  |  |  | Stub into V4 (no added length)
V4 | Valve | J_V4_IN_2255 | J_V4_OUT_2255 | 1 | 2.469 | 0.000167 | 0 | Closed | 0 |  |  |  | TCV | Closed valve on SNT1
J_M1_SNT2_Stub_55 | Pipe | M1 | J_SNT2_Stub_55 | 55 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Header M1 ? SNT2 (to CNT37)"
J_SNT2_Stub_55 | Pipe | J_SNT2_Stub_55 | J_TEE_IN_SNT2_55 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | Stub into CNT37 no added length)
J_TEE_IN_SNT2_55 | Pipe | J_TEE_IN_SNT2_Stub_55 | J_TEE_OUT_Stub_55 | 1 | 1.029 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_V5_IN_Stub_55 | Pipe | J_TEE_OUT_55 | J_TEE_OUT_V5_IN_55 | 1 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | Service branch stub off trunk
V5 | Valve | J_V5_IN_55 | J_V5_OUT_55 | 1 | 2.469 | 0.000167 | 0 | Closed | 0 |  |  |  | TCV | Closed valve to CNT37
J_V5_OUT_55_CNT37 | Pipe | J_V5_OUT_55 | J_CNT37 | 90 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | Service branch stub off trunk
J_TEE_OUT_SNT2_55_105 | Pipe | J_TEE_OUT_SNT2_55 | J_SNT2_Stub_105 | 50 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT1 2080 ? 95 ft
J_SNT2_Stub_105 | Pipe | J_SNT2_105 | J_TEE_IN_SNT2_Stub_105 | 1 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Service branch stub off trunk
J_TEE_IN_SNT2_105 | Pipe | J_TEE_IN_105 | J_TEE_OUT_Stub_105 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_V6_105 | Pipe | J_TEE_IN_105 | J_TEE_OUT_V6_IN_105 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
V6 | Valve | J_V6_IN_105 | J_V6_OUT_105 | 1 | 2.469 | 0.000167 | 0 | Closed | 0 |  |  |  | TCV | Closed valve on CNT38
J_V6_OUT_CNT38_Stub_105 | Pipe | J_V6_OUT_105 | J_CNT38 | 80 | 1.029 | 0.000167 | 0 | Closed | 0 |  |  |  |  | "Lateral @ 80 ft ? CNT38"
J_TEE_OUT_SNT2_105_185 | Pipe | J_TEE_OUT_105 | J_SNT2_V7_IN_185 | 80 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT2 105? 80 ft to V7
J_SNT1_V7_IN_185 | Pipe | J_SNT2_185 | J_V7_IN_185 | 1 | 2.469 | 0.000167 | 0 | Open | [5 empty] | Stub into V7 (no added length)
V7 | Valve | J_V7_IN_185 | J_V7_OUT_185 | 1 | 2.469 | 0.000167 | 0 | Open | 0 |  | 20 |  | FCV | "FCV set to 20 gJm (SNT2)"
J_SNT2_V7_OUT_185_210 | Pipe | J_V7_OUT_185 | J_SNT2_210 | 25 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Lateral 80 ft ? through V7 to V8
J_SNT2_V8_IN_210 | Pipe | J_SNT2_210 | J_V8_IN_210 | 1 | 2.469 | 0.000167 | 0 | Open | [5 empty] | Stub into V8 (no added length)
V8 | Valve | J_V8_IN_210 | J_V8_OUT_210 | 1 | 2.469 | 0.000167 | 0 | Open |  |  | 20 |  | FCV | "FCV set to 20 gpm"
J_SNT2_V8_OUT_210_211 | Pipe | J_V7_OUT_210 | J_TEE_IN_SNT2_211 | 1 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Lateral 1 ft ? through V8 to CNT39
J_TEE_IN_SNT2_Stub_211 | Pipe | J_TEE_IN_Stub | J_TEE_OUT_Stub_211 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_211 | Pipe | J_TEE_IN_211 | J_TEE_OUT_CNT39_Stub_211 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_211_CNT39_150 | Pipe | J_TEE_OUT_211 | J_CNT39 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | 150ft to CNT39
J_TEE_OUT_SNT2_211_240 | Pipe | J_TEE_OUT_211 | J_TEE_IN_SNT2_240 | 29 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Lateral ? through V8 to CNT40
J_TEE_IN_SNT2_240_Stub | Pipe | J_TEE_IN_240_Stub | J_TEE_OUT_240_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_240 | Pipe | J_TEE_IN_240 | J_TEE_OUT_240_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_CNT40_100 | Pipe | J__TEE_OUT_100 | J_CNT40 | 100 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | 100 ft lateral ?from SNT2 to CNT40
J_TEE_OUT_CNT40_CNT41_100_250 | Pipe | J__TEE_OUT_100 | J_CNT40_CNT41_250 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | 100 ft to CNT40
J_CNT40_CNT41_250 | Pipe | J_CNT40_CNT41_250 | J_CNT41_250_Stub | 1 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | Lateral @150 ft ? CNT41"
J_CNT41_250_Stub | Pipe | J_CNT41_250_Stub | J_V9_IN | 1 | 1.029 | 0.000167 | 0 | Closed | 0 |  |  |  |  | 185 ft lateral ?from CNT39 to CNT41
V9 | Valve | J_V9_IN | J_V9_OUT | 1 | 1.029 | 0.000167 | 0 | Closed | 0 |  | 0 |  | TCV | "TCV set to 20 gJm (SNT2)"
J_TEE_OUT_SNT2_240_265 | Pipe | J_TEE_OUT_240 | J_TEE_IN_SNT2_265 | 25 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT2 240 ? 25 ft
J_TEE_IN_SNT2_265 | Pipe | J_TEE_IN_265 | J_TEE_OUT_CNT42_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_265 | Pipe | J_TEE_IN_265 | J_TEE_OUT_CNT42_Stub_265 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_CNT42_265 | Pipe | J_TEE_OUT_265 | J_CNT42 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT42"
J_TEE_OUT_SNT2_265_300 | Pipe | J_TEE_OUT_265 | J_TEE_IN_SNT2_300 | 35 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT2 265? 25 ft
J_TEE_IN_SNT2_300 | Pipe | J_TEE_IN_300 | J_TEE_OUT_CNT43_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_300 | Pipe | J_TEE_IN_300 | J_TEE_OUT_CNT43_Stub_300 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_CNT43_300 | Pipe | J_TEE_OUT_300 | J_CNT43 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT43"
J_TEE_OUT_SNT2_300_365 | Pipe | J_TEE_OUT_300 | J_TEE_IN_SNT2_365 | 65 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT2 300 ? 65 ft
J_TEE_IN_SNT2_365 | Pipe | J_TEE_IN_365 | J_TEE_OUT_CNT44_Stub_365 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_CNT44_Stub_365 | Pipe | J_TEE_IN_365 | J_TEE_OUT_CNT44_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_CNT44_365 | Pipe | J_TEE_OUT_365 | J_CNT44 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT44"
J_TEE_OUT_SNT2_365_390 | Pipe | J_TEE_OUT_365 | J_TEE_IN_SNT2_390 | 25 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT2 300 ? 25 ft
J_TEE_IN_SNT2_390 | Pipe | J_TEE_IN_390 | J_TEE_OUT_CNT45_Stub_390 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_390 | Pipe | J_TEE_IN_390 | J_TEE_OUT_CNT45_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_CNT45_390 | Pipe | J_TEE_OUT_390 | J_CNT45 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT45"
J_TEE_OUT_SNT2_390_415 | Pipe | J_TEE_OUT_390 | J_TEE_IN_SNT2_415 | 25 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT2 390 ? 25 ft
J_TEE_IN_SNT2_415 | Pipe | J_TEE_IN_415 | J_TEE_OUT_CNT46_Stub_415 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_415 | Pipe | J_TEE_IN_415 | J_TEE_OUT_CNT46_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_CNT46_415 | Pipe | J_TEE_OUT_415 | J_CNT46 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT45"
J_TEE_OUT_SNT2_415_440 | Pipe | J_TEE_OUT_415 | J_TEE_IN_SNT2_440 | 25 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT2 390 ? 25 ft
J_TEE_IN_SNT2_440 | Pipe | J_TEE_IN_440 | J_TEE_OUT_CNT47_Stub_440 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_440 | Pipe | J_TEE_IN_440 | J_TEE_OUT_CNT47_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_CNT47_440 | Pipe | J_TEE_OUT_440 | J_CNT47 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT47"
J_TEE_OUT_SNT2_440_505 | Pipe | J_TEE_OUT_440 | J_TEE_IN_SNT2_505 | 65 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT2 440 ? 65 ft
J_TEE_IN_SNT2_505 | Pipe | J_TEE_IN_505 | J_TEE_OUT_CNT48_Stub_505 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_505 | Pipe | J_TEE_IN_505 | J_TEE_OUT_CNT48_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_CNT48_505 | Pipe | J_TEE_OUT_505 | J_CNT48 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT48"
J_TEE_OUT_SNT2_505_535 | Pipe | J_TEE_OUT_505 | J_TEE_IN_SNT2_535 | 35 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT2 505 ? 35 ft
J_TEE_IN_SNT2_535 | Pipe | J_TEE_IN_535 | J_TEE_OUT_CNT49_Stub_535 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_535 | Pipe | J_TEE_IN_535 | J_TEE_OUT_CNT49_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_CNT48_535 | Pipe | J_TEE_OUT_535 | J_CNT49 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT49 ft"
J_TEE_OUT_SNT2_535_580 | Pipe | J_TEE_OUT_535 | J_TEE_IN_SNT2_580 | 45 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT2 535 ? 45 ft
J_TEE_IN_SNT2_580 | Pipe | J_TEE_IN_580 | J_TEE_OUT_CNT50_Stub_580 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_580 | Pipe | J_TEE_IN_580 | J_TEE_OUT_CNT50_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_CNT50_580 | Pipe | J_TEE_OUT_580 | J_CNT50 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT50"
J_TEE_OUT_SNT2_580_625 | Pipe | J_TEE_OUT_580 | J_TEE_IN_SNT2_625 | 45 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT2 580 ? 45 ft
J_TEE_IN_SNT2_625 | Pipe | J_TEE_IN_625 | J_TEE_OUT_CNT51_Stub_625 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_625 | Pipe | J_TEE_IN_625 | J_TEE_OUT_CNT51_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_CNT51_625 | Pipe | J_TEE_OUT_625 | J_CNT51 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT51"
J_TEE_OUT_SNT2_625_670 | Pipe | J_TEE_OUT_625 | J_TEE_IN_SNT2_670 | 45 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT2 625 ? 45 ft
J_TEE_IN_SNT2_670 | Pipe | J_TEE_IN_670 | J_TEE_OUT_CNT52_Stub_670 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_670 | Pipe | J_TEE_IN_670 | J_TEE_OUT_CNT52_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_CNT51_670 | Pipe | J_TEE_OUT_670 | J_CNT52 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT52"
J_TEE_OUT_SNT2_670_715 | Pipe | J_TEE_OUT_670 | J_TEE_IN_SNT2_715 | 45 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT2 670 ft ? 45
J_TEE_IN_SNT2_715 | Pipe | J_TEE_IN_715 | J_TEE_OUT_CNT53_Stub_715 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_715 | Pipe | J_TEE_IN_715 | J_TEE_OUT_CNT53_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_CNT53_715 | Pipe | J_TEE_OUT_715 | J_CNT53 | 150 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @150 ft ? CNT53 ft"
J_TEE_OUT_SNT2_715_840 | Pipe | J_TEE_OUT_715 | J_SNT2_V10_IN_840 | 125 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT2 715 ? 125 ft
J_SNT2_V10_IN_840 | Pipe | J_V10_IN_840 | J_V10_OUT_840 | 1 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Stub into V10 (no added length)
V10 | Valve | J_V10_IN_840 | J_V10_OUT_840 | 1 | 2.469 | 0.000167 | 0 | Open | 0 |  | 20 |  | FCV | "FCV set to 20 gJm (SNT2)"
J_SNT2_V10_OUT_840_845 | Pipe | J_V10_OUT_840 | J_TEE_IN_SNT2_845 | 5 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Lateral out of V10 ? 5 ft
J_TEE_IN_SNT2_845 | Pipe | J_TEE_IN_845 | J_TEE_OUT_845_SNT3_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_845_SNT3_Stub | Pipe | J_TEE_IN_845 | J_TEE_OUT_SNT3_Stub_75 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_SNT3_75 | Pipe | J_TEE_OUT_845 | J_TEE_IN_SNT3_75 | 75 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Begiinning of SNT3 +75 ft to CNT54
J_TEE_IN_SNT3_75 | Pipe | J_TEE_OUT_845 | J_TEE_IN_SNT3_CNT54_Stub_75 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT3
J_TEE_IN_SNT3_CNT54_Stub_75 | Pipe | J_TEE_IN_75 | J_TEE_OUT_CNT54_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT3
J_TEE_OUT_CNT54_75 | Pipe | J_TEE_OUT_75 | J_CNT54 | 15 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @75 ft ? CNT54"
J_TEE_OUT_SNT3_75_130 | Pipe | J_TEE_OUT_75 | J_TEE_IN_SNT3_130 | 55 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT2 625 ? 45 ft
J_TEE_IN_SNT3_130 | Pipe | J_TEE_IN_130 | J_TEE_OUT_CNT55_Stub_130 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT3
J_TEE_OUT_130 | Pipe | J_TEE_IN_130 | J_TEE_OUT_CNT55_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT3
J_TEE_OUT_CNT55_130 | Pipe | J_TEE_OUT_130 | J_CNT55 | 15 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @55 ft ? CNT54"
J_TEE_OUT_SNT3_130_185 | Pipe | J_TEE_OUT_130 | J_TEE_IN_SNT3_185 | 55 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT3 55 ? 185 ft
J_TEE_IN_SNT3_185 | Pipe | J_TEE_IN_185 | J_TEE_OUT_CNT56_Stub_185 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT3
J_TEE_OUT_185 | Pipe | J_TEE_IN_185 | J_TEE_OUT_CNT56_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT3
J_TEE_OUT_CNT55_185 | Pipe | J_TEE_OUT_185 | J_CNT56 | 15 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @185ft ? CNT56"
J_OUT_SNT3_TEE_185_240 | Pipe | J_TEE_OUT_185 | J_TEE_IN_SNT3_240 | 55 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT3 185 ? 55 ft
J_TEE_IN_SNT3_240 | Pipe | J_TEE_IN_240 | J_TEE_IN_CNT57_Stub_240 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT3
J_TEE_OUT_240 | Pipe | J_TEE_IN_240 | J_TEE_OUT_CNT57_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT3
J_TEE_OUT_CNT57_240 | Pipe | J_TEE_OUT_240 | J_CNT57 | 15 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @185 ft ? CNT56"
J_TEE_OUT_SNT3_240_295 | Pipe | J_TEE_OUT_240 | J_TEE_IN_SNT3_295 | 55 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT3 240 ? 55 ft
J_TEE_IN_SNT3_295 | Pipe | J_TEE_IN_295 | J_TEE_IN_CNT58_Stub_295 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT3
J_TEE_OUT_295 | Pipe | J_TEE_IN_295 | J_TEE_OUT_CNT58 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT3
J_TEE_OUT_CNT58_295 | Pipe | J_TEE_OUT_295 | J_CNT58 | 15 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @295 ft ? CNT58"
J_TEE_OUT_SNT2_845_850 | Pipe | J_TEE_OUT_845 | J_TEE_IN_SNT2_855 | 10 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Continuation of SNT2 855 ft to CNT59
J_TEE_IN_SNT2_855 | Pipe | J_TEE_IN_855 | J_TEE_OUT_CNT59_Stub_855 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_CNT59_855 | Pipe | J_TEE_OUT_855 | J_TEE_OUT_CNT59_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_CNT59_855 | Pipe | J_TEE_OUT_855 | J_CNT59 | 15 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @ 5 ft ? CNT59"
J_TEE_OUT_SNT2_855_875 | Pipe | J_TEE_OUT_855 | J_TEE_IN_SNT2_875 | 20 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Continuation of SNT2 85 ft to CNT60
J_TEE_IN_SNT2_875 | Pipe | J_TEE_IN_875 | J_TEE_OUT_CNT60_Stub_875 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_CNT60_875 | Pipe | J_TEE_IN_875 | J_TEE_OUT_CNT60_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_CNT60_875 | Pipe | J_TEE_OUT_875 | J_CNT60 | 15 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @ 20 ft ? CNT60"
J_TEE_OUT_SNT2_875_1050 | Pipe | J_TEE_OUT_875 | J_SNT2_V11_IN_1050 | 175 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Continuation of SNT2 175 ft to V11
J_SNT2_V11_IN_1050_Stub | Pipe | J_SNT2_1050_Stub | J_V11_IN_1050 | 1 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Stub into V11 (no added length)
V11 | Valve | J_V11_IN_1050 | J_V11_OUT_1050 | 1 | 2.469 | 0.000167 | 0 | Open | 0 |  | 20 |  | FCV | "FCV set to 20 gJm (SNT2)"
J_SNT2_V11_OUT_1050_1055 | Pipe | J_V10_OUT_1050 | J_TEE_IN_SNT2_1055 | 5 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Lateral out of V11 ? 5 ft to SNT4
J__TEE_IN_SNT2_1055 | Pipe | J_TEE_IN_1055 | J_TEE_OUT_SNT4_Stub_1055 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT4
J_TEE_OUT_1055 | Pipe | J_TEE_IN_1055 | J_TEE_OUT_SNT4_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT4
J_TEE_OUT_SNT4_20 | Pipe | J_TEE_OUT_1055 | J_TEE_IN_SNT4_20 | 20 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | Begiinning of SNT4 +20 ft to CNT61
J_TEE_IN_SNT4_20 | Pipe | J_TEE_IN_20 | J_TEE_OUT_CNT61_Stub_20 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT4
J_TEE_OUT_CNT61_20 | Pipe | J_TEE_IN_20 | J_TEE_OUT_CNT61_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT4
J_TEE_OUT_CNT61_20 | Pipe | J_TEE_OUT_20 | J_CNT61 | 15 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @ 20 ft ? CNT61"
J_TEE_OUT_SNT4_20_70 | Pipe | J_TEE_OUT_20 | J_TEE_IN_SNT4_70 | 50 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT4 20 ? 50 ft
J_TEE_IN_SNT4_70 | Pipe | J_TEE_IN_SNT4_70 | J_TEE_OUT_CNT62_Stub_70 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT4
J_TEE_OUT_CNT62_70 | Pipe | J_TEE_IN_70 | J_TEE_OUT_CNT62_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT4
J_TEE_OUT_CNT62_70 | Pipe | J_TEE_OUT_70 | J_CNT62 | 15 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @ 15 ft ? CNT62"
J_TEE_OUT_SNT4_70_120 | Pipe | J_TEE_OUT_120 | J_TEE_IN_SNT4_120 | 50 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT4 +50 ft to CNT63
J_TEE_IN_SNT4_120 | Pipe | J_TEE_IN_SNT4_120 | J_TEE_OUT_CNT63_Stub_120 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT4 | 3
J_TEE_OUT_CNT63_120 | Pipe | J_TEE_IN_120 | J_TEE_OUT_CNT63_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT4
J_TEE_OUT_CNT63_120 | Pipe | J_TEE_OUT_120 | J_CNT63 | 15 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @ 15 ft ? CNT63"
J_TEE_OUT_SNT4_120_170 | Pipe | J_TEE_OUT_120 | J_TEE_IN_SNT4_170 | 50 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT4 +50 ft to CNT64
J_TEE_IN_SNT4_170 | Pipe | J_TEE_IN_170 | J_TEE_OUT_CNT64_Stub_170 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT4
J_TEE_OUT_CNT64_170 | Pipe | J_TEE_IN_170 | J_TEE_OUT_CNT64_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT4
J_TEE_OUT_CNT64_170 | Pipe | J_TEE_OUT_170 | J_CNT64 | 15 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @ 15 ft ? CNT63" the end of SNT4
J_TEE_OUT_SNT2_1055_1170 | Pipe | J_TEE_OUT_1055 | J_SNT2_1170 | 115 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Continuation of SNT2 850 ft to CNT59
J_SNT2_V12_IN_Stub_1170 | Pipe | J_V12_IN_1170_Stub | J_V12_OUT_1170 | 1 | 2.469 | 0.000167 | 0 | Open | 0 |  | 20 |  | FCV | "FCV set to 20 gJm (SNT2)"
V12 | Valve | J_V12_IN_1170 | J_V12_OUT_1170 | 1 | 2.469 | 0.000167 | 0 | Open | 0 |  | 20 |  | FCV | "FCV set to 20 gJm (SNT2)"
J_SNT2_V12_OUT_1170_1175 | Pipe | J_V12_OUT_1170 | J_SNT2_1175 | 5 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Lateral out of V12 ? 5 ft to SNT2
J_TEE_IN_SNT2_1175 | Pipe | J_SNT2_1175 | J_TEE_IN_SNT5_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_1175 | Pipe | J_TEE_IN_SNT5 | J_TEE_OUT_SNT5 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_SNT5_125 | Pipe | J_TEE_OUT_1175 | J_SNT5_TEE_IN_125 | 125 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | Begiinning of SNT5 +125 ft to CNT65
J_SNT5_TEE_IN_125 | Pipe | J_SNT5_125 | J_TEE_IN_CNT65_Stub_125 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT65_125 | Pipe | J_TEE_OUT_125 | J_TEE_OUT_CNT65_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT65_125 | Pipe | J_TEE_OUT_125 | J_CNT65 | 15 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | 15 ft lateral ? CNT65
J_TEE_OUT_SNT5_125_130 | Pipe | J_TEE_OUT_125 | J_SNT1_BEND_IN_130 | 5 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +5 ft on trunk to Bend
J_SNT1_BEND_IN_130 | Pipe | J_SNT5_130 | J_SNT5_BEND_OUT_130 | 1 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Seg: SNT5 ? 90° bend"
J_SNT5_BEND_OUT_130 | Pipe | J_SNT5_BEND_IN_130 | J_SNT5_BEND_OUT_130 | 1 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Seg: SNT5 ? 90° bend"
J_SNT5_BEND_OUT_130_145 | Pipe | J_SNT5_BEND_OUT_130 | J_TEE_IN_SNT5_145 | 15 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Seg: 90° bend ? SNT5 +20 ft"
J_TEE_IN_SNT5_145 | Pipe | J_TEE_IN_145 | J_TEE_OUT_CNT66_Stub_145 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT66_145 | Pipe | J_TEE_IN_145 | J_TEE_OUT_CNT66_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT66_145 | Pipe | J_TEE_OUT_145 | J_CNT66 | 15 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @ 15 ft ? CNT66"
J_TEE_OUT_SNT5_145_165 | Pipe | J_TEE_OUT_145 | J_TEE_IN_SNT5_165 | 20 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +20 ft to CNT67
J_TEE_IN_SNT5_165 | Pipe | J_TEE_IN_165 | J_TEE_IN_CNT67_Stub_165 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT67_165 | Pipe | J_TEE_IN_165 | J_TEE_OUT_CNT67_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT67_165 | Pipe | J_TEE_OUT_165 | J_CNT67 | 15 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @ 15 ft ? CNT67"
J_TEE_OUT_SNT5_165_190 | Pipe | J_TEE_OUT_165 | J_TEE_IN_SNT5_190 | 25 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +20 ft to CNT68
J_TEE_IN_SNT5_190 | Pipe | J_TEE_IN_190 | J_TEE_OUT_CNT68_Stub_190 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT68_190 | Pipe | J_TEE_OUT_190 | J_TEE_OUT_CNT68_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT68_190 | Pipe | J_TEE_OUT_190 | J_CNT68 | 15 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @ 15 ft ? CNT68"
J_SNT5_TEE_OUT_190_260 | Pipe | J_TEE_OUT_190 | J_TEE_IN_SNT5_260 | 70 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +70 ft on trunk to CNT69
J_TEE_IN_SNT5_260 | Pipe | J_TEE_IN_260 | J_TEE_OUT_CNT69_Stub_260 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT69_260 | Pipe | J_TEE_OUT_260 | J_TEE_OUT_CNT69_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT69_260 | Pipe | J_TEE_OUT_260 | J_CNT69 | 15 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | "Lateral @ 15 ft ? CNT69"
JTEE_OUT_SNT5__260_310 | Pipe | J_TEE_OUT_260 | J_TEE_IN_SNT5_310 | 50 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +50 ft on trunk to CNT70
J_TEE_IN_SNT5_310 | Pipe | J_TEE_IN_310 | J_TEE_OUT_CNT70_Stub_310 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT70_310 | Pipe | J_TEE_IN_310 | J_TEE_OUT_CNT70_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT70_310 | Pipe | J_TEE_OUT_310 | J_CNT70 | 15 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | 15 ft lateral ? CNT70
J_TEE_OUT_SNT5_310_325 | Pipe | J_TEE_OUT_310 | J_TEE_IN_SNT5_325 | 15 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +15 ft on trunk to CNT71
J_TEE_IN_SNT5_325 | Pipe | J_TEE_IN_325 | J_TEE_OUT_CNT71_Stub_325 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT71_325 | Pipe | J_TEE_IN_325 | J_TEE_OUT_CNT71_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT71_325 | Pipe | J_TEE_OUT_325 | J_CNT71 | 55 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | 55 ft lateral ? CNT71
J_TEE_OUT_SNT5_325_400 | Pipe | J_TEE_OUT_325 | J_TEE_IN_SNT5_400 | 75 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +15 ft on trunk to CNT72
J_TEE_IN_SNT5_400 | Pipe | J_TEE_IN_400 | J_TEE_OUT_CNT72_Stub_400 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT72_400 | Pipe | J_TEE_IN_400 | J_TEE_OUT_CNT72_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT72_400 | Pipe | J_TEE_OUT_400 | J_CNT72 | 15 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | 15 ft lateral ? CNT72
J_TEE_OUT_SNT5_400_415 | Pipe | J_TEE_OUT_400 | J_TEE_IN__SNT5_415 | 15 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +15 ft on trunk to CNT73
J_TEE_IN_SNT5_415 | Pipe | J_TEE_IN_415 | J_TEE_OUT_CNT73_Stub_415 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT73_415 | Pipe | J_TEE_IN_415 | J_TEE_OUT_CNT73_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT73_415 | Pipe | J_TEE_OUT_415 | J_CNT73 | 55 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5+15 ft on trunk to CNT73
J_TEE_OUT_SNT5_415_430 | Pipe | J_TEE_OUT_415 | J_TEE_IN_SNT5_430 | 15 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +15 ft on trunk to CNT74
J_TEE_IN_SNT5_430 | Pipe | J_TEE_IN_430 | J_TEE_IN_CNT74_Stub_430 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT74_430 | Pipe | J_TEE_IN_430 | J_TEE_OUT_CNT74_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT74_430 | Pipe | J_TEE_OUT_430 | J_CNT74 | 90 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +90 ft on trunk to CNT74
J_TEE_OUT_SNT5_430_495 | Pipe | J_TEE_OUT_430 | J_TEE_IN_SNT5_495 | 65 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +65 ft on trunk to CNT75
J_TEE_IN_SNT5_495 | Pipe | J_TEE_IN_495 | J_TEE_IN_CNT75_Stub_495 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT75_495 | Pipe | J_TEE_IN_495 | J_TEE_OUT_CNT75_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT75_495 | Pipe | J_TEE_OUT_495 | J_CNT75 | 55 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +55 ft on trunk to CNT75
J_TEE_OUT_SNT5_495_530 | Pipe | J_TEE_OUT_495 | J_TEE_IN_SNT5_530 | 35 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +35 ft on trunk to CNT76
J_TEE_IN_SNT5_530 | Pipe | J_TEE_IN_530 | J_TEE_IN_CNT76_Stub_530 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT76_530 | Pipe | J_TEE_IN_530 | J_TEE_OUT_CNT76_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT76_530 | Pipe | J_TEE_OUT_530 | J_CNT76 | 100 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +100 ft on trunk to CNT76
J_TEE_OUT_SNT5_530_565 | Pipe | J_TEE_OUT_530 | J_TEE_IN_SNT5_565 | 35 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +55 ft on trunk to CNT77
J_TEE_IN_SNT5_565 | Pipe | J_TEE_IN_565 | J_TEE_IN_CNT77_Stub_565 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT77_565 | Pipe | J_TEE_IN_565 | J_TEE_OUT_CNT77_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT77_565 | Pipe | J_TEE_OUT_565 | J_CNT77 | 100 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +100 ft on trunk to CNT77
J_TEE_OUT_SNT5_565_620 | Pipe | J_TEE_OUT_565 | J_TEE_IN_SNT5_620 | 55 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +55 ft on trunk to CNT78
J_TEE_IN_SNT5_620 | Pipe | J_TEE_IN_620 | J_TEE_IN_CNT78_Stub_620 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT78_620 | Pipe | J_TEE_IN_620 | J_TEE_OUT_CNT78_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT78_620 | Pipe | J_TEE_OUT_620 | J_CNT78 | 60 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +100 ft on trunk to CNT78
J_TEE_OUT_SNT5_620_695 | Pipe | J_TEE_OUT_620 | J_TEE_IN_SNT5_695 | 75 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +75 ft on trunk to CNT79
J_TEE_IN_SNT5_695 | Pipe | J_TEE_IN_695 | J_TEE_IN_CNT79_Stub_695 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT79_695 | Pipe | J_TEE_IN_695 | J_TEE_OUT_CNT79_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT79_695 | Pipe | J_TEE_OUT_695 | J_CNT80 | 40 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +100 ft on trunk to CNT80
J_TEE_OUT_SNT5_695_770 | Pipe | J_TEE_OUT_695 | J_TEE_IN_SNT5_770 | 75 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +75 ft on trunk to CNT80
J_TEE_IN_SNT5_770 | Pipe | J_TEE_IN_770 | J_TEE_IN_CNT80_Stub_770 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT80_770 | Pipe | J_TEE_IN_770 | J_TEE_OUT_CNT80_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT80_770 | Pipe | J_TEE_OUT_770 | J_CNT80 | 60 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +100 ft on trunk to CNT80
J_TEE_OUT_SNT5_770_800 | Pipe | J_TEE_OUT_770 | J_TEE_IN_SNT5_800 | 30 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +30 ft on trunk to CNT81
J_TEE_IN_SNT5_800 | Pipe | J_TEE_IN_800 | J_TEE_IN_CNT81_Stub_800 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT81_800 | Pipe | J_TEE_IN_800 | J_TEE_OUT_CNT81_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT5
J_TEE_OUT_CNT81_800 | Pipe | J_TEE_OUT_800 | J_CNT81 | 20 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT5 +20 ft on trunk to CNT81
J_TEE_OUT_SNT2_1175_1190 | Pipe | J_TEE_OUT_1175 | J_TEE_IN_SNT2_1190 | 15 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Continuation of SNT2 15 ft to CNT82
J_TEE_IN_SNT2_1190 | Pipe | J_TEE_IN_1190 | J_TEE_IN_CNT82_Stub_1190 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_CNT82_1190 | Pipe | J_TEE_IN_1190 | J_TEE_OUT_CNT82_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_CNT82_1190 | Pipe | J_TEE_OUT_1190 | J_CNT82 | 95 | 1.029 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT2 +95 ft on trunk to CNT82
J_TEE_OUT_SNT2_1190_1285 | Pipe | J_TEE_OUT_1190 | J_TEE_IN_SNT6_1285 | 95 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT2 east 95 ft to TEE @1285
J_TEE_IN_SNT6_1285 | Pipe | J_TEE_IN_1285 | J_TEE_OUT_SNT6_Stub_1285 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_SNT6_1285 | Pipe | J_TEE_IN_1285 | J_TEE_OUT_SNT6_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_1285_SNT6_80 | Pipe | TEE_OUT_1285 | J_SNT6_80 | 80 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Run OUT ? J_SNT5_80 ft)
J_SNT6_80_V13_IN_Stub | Pipe | J_SNT6_80 | J_V13_IN_Stub_80 | 1 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Stub into V13 (no added length)
V13 | Valve | J_V13_IN_Stub | J_V13_OUT_Stub | 1 | 2.469 | 0.000167 | 0 | Closed | 0 |  |  |  | TCV | Closed valve at SNT6 terminus
J_TEE_OUT_SNT2_1285_1365 | Pipe | J_TEE_OUT_1285 | J_TEE_IN_SNT2_1385 | 80 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | SNT2 south 80 ft to TEE @1465
J_TEE_IN_SNT2_1385 | Pipe | J_TEE_IN_1365 | J_TEE_OUT_SNT7_Stub_190 | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
TEE_OUT_1365 | Pipe | J_TEE_IN_1365 | J_TEE_OUT_SNT7_Stub | 1 | 2.469 | 0.000167 | 0 | Open | K_TEE_RUN_DIV |  |  |  |  | TEE(dividing): run IN ? tee fitting at SNT2
J_TEE_OUT_SNT7_Stub_190 | Pipe | J_TEE_OUT_1365 | J_SNT7_190 | 190 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Run OUT ? J_SNT7_190 ft)
J_SNT7_190_V14_IN_190_Stub | Pipe | J_SNT7_190_Stub | J_V14_IN_190 | 1 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Stub into V13 (no added length)
V14 | Valve | J_V14_IN | J_V14_OUT | 1 | 2.469 | 0.000167 | 0 | Closed | 0 |  |  |  | TCV | Closed valve at SNT7 terminus
J_TEE_OUT_SNT2_1365_1490 | Pipe | TEE_OUT_1385 | J_SNT2_V15_IN_1490 | 125 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Run OUT ? J_SNT2_125 ft)
J_SNT2_V15_IN_1490_Stub | Pipe | J_SNT2_1490_Stub | J_V15_IN | 1 | 2.469 | 0.000167 | 0 | Open | 0 |  |  |  |  | Stub into V14 (no added length)
V15 | Valve | J_V15_IN | J_V15_OUT | 1 | 2.469 | 0.000167 | 0 | Closed | 0 |  |  |  | TCV | Closed valve on SNT2